As a condition of being included as a listed vendor in ALCOSAN’s elevator specifications [your firm here] affirms compliance with Contract 1735 Specification 14 21 20 Section 1.2C:

1. Insofar as practicable, the Owner desires that the traction elevators are comprised of non-proprietary components that will allow service and maintenance by whomever the Owner determines, not necessarily the elevator contractor for this project.

a. Contractors are expected to clarify what, if any, proprietary components are included, along with procedures for obtaining spare parts and maintaining the elevators.

2. Special tools: Any special tools required to service the elevator shall be included in the base bid and become the property of the owner upon contract completion.

3. Diagnostic capabilities must be integral to the controls. Any diagnostic devices necessary to adjust, troubleshoot and change parameters must be a part of the control system and become the Owner’s property upon completion of the job. If a separate diagnostic device is required, it shall be included in the base bid at no additional cost to the Owner and become the Owner’s property upon completion of the job.

4. The Owner must have ready access to software revisions and any technical support required to maintain the elevator in its originally installed functional state after completion of the installation.

[your firm here] further understands that failure to attest compliance in writing with the above specification will result in the rejection of any submitted elevator bid by ALCOSAN.

Signed,

[authorized representative of your firm]